## Worksheet 1
Flag | Description
0 | Measurement is missing (i.e. –).
1 | Value is infinite – occurs when data values are outside of the range that the float32 data type can handle (-3.4×1038 to +3.4×1038).
2 | Measurement is negative in absolute terms.
3 | Measurement is equal to zero.
6 | Measurements are associated with data quality flags given by the data provider which have been decreed by the GHOST project architects as being associated with substantial uncertainty/bias.
8 | After screening by key QA flags, no valid data remain to average in the temporal window.
10 | The measurement methodology used has not yet been mapped to standardized dictionaries of measurement methodologies.
18 | The specific name of the measurement method is unknown.
20 | The primary sampling is not appropriate to prepare the specific parameter for subsequent measurement.
21 | The sample preparation is not appropriate to prepare the specific parameter for subsequent measurement.
22 | The measurement methodology used is not known to be able to measure the specific parameter.
23 | The specific measurement methodology has been decreed not to conform to QA standards, as the method is not sufficiently proven/subject to substantial biases/uncertainty.
72 | Measurement is below or equal to the preferential lower limit of detection.
75 | Measurement is above or equal to the preferential upper limit of detection.
82 | The preferential resolution for the measurement is coarser than a set limit (variable by measured parameter).
83 | The resolution of the measurement is analysed month by month. If the minimum difference between observations is coarser than a set limit (variable by measured parameter), measurements are flagged.
90 | Check for persistently recurring values. Check is done by using a moving window of nine measurements. If 5 out of 6 (i.e. 83.33 %) values in the window are the same then the entire window is flagged.
91 | Check for persistently recurring values. Check is done by using a moving window of 12 measurements. If 9 out of 12 (i.e. 75 %) values in the window are the same, then the entire window is flagged.
92 | Check for persistently recurring values. Check is done by using a moving window of 24 measurements. If 16 out of 24 (i.e. 66.66 %) values in the window are the same, then the entire window is flagged.
110 | The measured value is below or greater than scientifically feasible lower/upper limits (400, 600, 30 000 and 3000 ppbv for O3, NO2, CO and SO2 and 50 000 µg m−3 for PM10 and PM2.5).
111 | The median of the measurements in a month is greater than a scientifically feasible limit (120, 200, 7500 and 750 ppbv for O3, NO2, CO and SO2 and 5000 µg m−3 for PM10 and PM2.5).
112 | Data have been reported to be an outlier through data flags by the network data reporters (and not manually checked and verified as valid).
113 | Data have been found and decreed manually to be an outlier.
131 | Two out of three months' distributions are classed as Zone 6 or higher, suggesting there are potentially systematic reasons for the inconsistent distributions across the three months.
132 | Four out of six months' distributions are classed as Zone 6 or higher, suggesting there are potentially systematic reasons for the inconsistent distributions across the six months.
133 | In total 8 out of 12 months' distributions are classed as Zone 6 or higher, suggesting there are potentially systematic reasons for the inconsistent distributions across the 12 months.