## Worksheet 1
Measurement | Instrument | LOD1 | Resolution
Select VOCs1 | Vocus Proton Transfer Reaction, Time-of-Flight, Mass Spectrometer (Vocus PTR-ToF-MS) | 30–300 ppt | 1 s
Speciated VOCs2 | Gas Chromatograph, Electron Impact, Time-of-Flight, Mass Spectrometer (GC-EI-ToF-MS) | 1–20 ppt | 10 min
Methane (CH4), Ethane (C2H6), Formaldehyde (HCHO), Carbon Monoxide (CO), Nitric Oxide (NO), Nitrogen Dioxide (NO2) | Tunable Infrared Laser Direct Absorption Spectrometer (TILDAS) (42) | 30 ppt–3 ppb | 1 s
Carbon Dioxide (CO2) | LI-COR 6262 Non-Dispersive Infrared (NDIR) | 1.5 ppb | 1 s
Ozone (O3) | 254 nm 2BTech Model 205 Ozone Monitor | 3 ppb | 2 s